## Sheet1
Ephys parameters | Definitions (most common) | synonyms | usual units | unit_main | unit_sub | NeuroElectro ID | NeuroLex ID
cell capacitance | Neuron capacitance, typically measured by dividing membrane time constant by membrane resistance | Cell_capacitance, Cm, C, capacitance, whole cell capacitance | pF | F | p | 1 | oen_0001024
input resistance | Input resistance at steady-state (steady-state of voltage response to current injection) | R<sub>in</sub>, R<sub>N</sub>, Maximum R<sub>in</sub>, R<sub>input</sub>, Rin, RN | MΩ | Ohms | M | 2 | oen_0001023
resting membrane potential | Membrane potential at the onset of whole-cell recording | V<sub>rest</sub>, V<sub>m</sub>, resting potential, membrane potential, RMP, Vm | mV | V | m | 3 | oen_0001268
membrane time constant | Time constant for the membrane to repolarize after a SMALL hyperpolarizing current injection of fixed amplitude and duration | time constant, tau, τ | ms | s | m | 4 | oen_0001253
spike amplitude | Average amplitude of the first AP (measured from AP threshold to AP peak) | AP<sub>h</sub>, Amplitude of AP, spike height, AP amp, AP height, AP amplitude, action potential amplitude, action potential height | mV | V | m | 5 | oen_0001020
spike half-width | Average time for first AP half amp to the same voltage during offset | spike halfwidth, half-width of spike, half-width of action potential, half amplitude duration, spike half width, spike half duration | ms | s | m | 6 | oen_0001019
spike threshold | Voltage at which AP is initiated (as measured by looking at the rate of rise of Vm) | AP<sub>th</sub>, AP<sub>thresh</sub>, threshold of AP, AP VTH, action potential threshold, thresh, AP thresh, AP threshold, v thresh | mV | V | m | 7 | PATO_0000152
rheobase | Current threshold to discharge APs during a ramp depolarization. Minimum current required to fire an action potential during very slow increases in current. | current threshold, I thresh, I<sub>thresh</sub>, AP rheobase | pA | A | p | 8 | oen_0001018
firing frequency | AP discharge rate | firing rate, FR | Hz | Hz |  | 9 | oen_0001022
AHP duration | Time to the maximal afterhyperpolarization following an AP | after-hyperpolarization potential duration, afterhyperpolarization potential duration, t<sub>amp</sub>, AHP dur, AHP peak time | ms | s | m | 10 | oen_0001021
cell diameter | Diameter of the cell soma | diameter, soma diameter | μm | m | u | 11 | oen_0001017
access resistance | Sum of the electrode resistance and the resistance at the electrode-cell junction | access_resistance, series_resistance |  | Ohms | M | 12 | oen_0001016
sag ratio | Ratio between exponentially extrapolated voltage and steady-state voltage | sag-ratio, sag index, sag |  |  |  | 13 | oen_0001015
spike overshoot | Difference between the peak of the action potential and 0 mV | action potential overshoot, overshoot, AP overshoot | mV | V | m | 14 | oen_0001014
cell surface area | Cross-sectional area of the cell | area, surface area | μm<sup>2</sup> | m |  | 15 | oen_0001013
AHP amplitude | Amplitude from first AP onset to minimum voltage, not explicitly fast or slow | after-hyperpolarization potential amplitude, afterhyperpolarization potential amplitude, AHP magnitude, AHP amplitude, AHP size, AHP peak amplitude, AHP | mV | V | m | 16 | oen_0001009
FI slope | The slope of the current-discharge relationship from discharge threshold | slope of FI curve, FR vs. I slope | Hz/nA |  |  | 17 | oen_0001012
Spontaneous firing rate | AP discharge rate in the absence of current injection or a stimulus | spontaneous firing frequency | Hz | Hz |  | 18 | oen_0001011
fast afterhyperpolarization amplitude | Amplitude from first AP onset to minimum voltage, explictly refered to as fast | fAHP size, fAHP amp, fAHP amplitude, fast AHP amplitude, fast AHP size | mV | V | m | 19 | oen_0001010
fast afterhyperpolarization duration | Duration from first AP onset to minimum voltage, explictly refered to as fast | fAHP duration, fAHP time, fast AHP duration, fast AHP time | ms | s | m | 20 | oen_0001008
slow afterhyperpolarization amplitude | Amplitude from first AP onset to minimum voltage, explictly refered to as slow | sAHP size, sAHP amp, sAHP amplitude, slow AHP amplitude, slow AHP size | mV | V | m | 21 | oen_0001007
slow afterhyperpolarization duration | Duration from first AP onset to minimum voltage, explictly refered to as slow | sAHP duration, sAHP time, slow AHP duration, slow AHP time | ms | s | m | 22 | oen_0001006
spike width | Duration of AP, not explictly refered to as half-width | AP width, action potential width, AP duration, spike duration, AP duration | ms | s | m | 23 | oen_0001005
ADP amplitude | Amplitude from first AP onset to maximum voltage, typically more depolarized that the resting membrane potential | after-depolarization potential amplitude, afterdepolarization potential amplitude, ADP magnitude, ADP amplitude, ADP size, ADP peak amplitude, ADP | mV | V | m | 24 | oen_0001004
ADP duration | Duration from first AP onset to maximum ADP | after-depolarization potential duration, afterdepolarization potential duration, ADP duration | ms | s | m | 25 | oen_0001003
spike peak | Maximum voltage of AP | AP peak | mV | V | m | 26 | oen_0001002
adaptation ratio | Ratio of durations between early and late AP inter-spike intervals | adaptation percent |  |  |  | 27 | oen_0001000
first spike latency | Duration to first AP following a depolarizing current step of fixed amplitude | 1st AP time, spike latency | ms | s | m | 28 | oen_0001001